## Slide 1
SPEX
accurate spectrally modulating polarimeters for atmospheric aerosol characterization
Jeroen Rietjens
Martijn Smit1, Gerard van Harten2, Antonio Di Noia1, Otto P. Hasekamp1, Jozua de Boer2, Hester Volten3, Frans Snik2, and Christoph U. Keller2
1
2
3

## Slide 2
SPEX prototype
groundSPEX
Spectrally modulating polarimeters
iSPEX
SPEX airborne
Keller & Snik
(2014) patent
flySPEX concept

## Slide 3: IPCC, Radiative Forcing, Future Climate
IPCC, AR5, 2013
Steps to be taken
Quantifying present day aerosol radiative forcing
Understanding present day aerosol radiative forcing
Predicting future changes in aerosol radiative forcing.
Notes: For Aerosol: beginning of step 1
For CO2, CH4 at step 2

## Slide 4: Aerosols & Climate
Needed (globally):
Refractive index (composition, water uptake).
Size, shape, and concentration
Optical properties (AOT, SSA, phase function)
Measurements close to and above clouds
Multi-angle photo-polarimetry essential to retrieve the relevant aerosol properties: ΔPL < 0.001 + 0.005  PL
Mishchenko and Travis, JGR, 2007, Mishchenko et al., 2004
Hasekamp and Landgraf, Appl. Opt., 2007
Kokhanovsky et al, AMT, 2010
Loeb and Su, 2010

## Slide 5
Spectral polarization modulation
Courtesy: Gerard van Harten

## Slide 6
Spectral polarization modulation
Courtesy: Gerard van Harten
DoLP
AoLP

## Slide 7
Instrument concept
Advantages of spectral modulation
Instantaneous (one shot) polarimetry  No timing issues
Passive optical components  High stability and reliability
No differential effects
Disadvantages of spectral modulation
Spectrometer  Requirement on stability and image quality
Spectral oversampling  More detector pixels, higher data volume

## Slide 8
Instrument concept
Advantages of spectral modulation
Instantaneous (one shot) polarimetry  No timing issues
Passive optical components  High stability and reliability
No differential effects
Radiance at full spectrometer resolution
No aliasing  High accuracy of radiometry and polarimetry  Line polarimetry
Redundancy  differential transmission correction
Beam-exchange equivalent  Using spectral and spatial dimensions
Dual beam implementation

## Slide 9
Snik, Rietjens et al., GRL 2014

## Slide 10: “CESAR” meteorological site in Cabauw, the Netherlands
Two SPEX realizations
  SPEX prototype
  groundSPEX
Sky-sweeps to obtain multi-angle measurements
Retrieval scheme based on algorithm for POLDER (Hasekamp+, JGR, 2011)
Comparison with AERONET products from CIMEL Sun Photometer measurements
Ground based measurements

## Slide 11
Ground based measurements
groundSPEX van Harten+, AMT, 2014

## Slide 12
Ground based measurements
groundSPEX van Harten+, AMT, 2014

## Slide 13
Ground based measurements
groundSPEX van Harten+, AMT, 2014
Notes: Retrieval based upon radiance and DoLP

## Slide 14
Ground based measurements
groundSPEX van Harten+, AMT, 2014
Notes: Retrieval based upon radiance and DoLP

## Slide 15
SPEX Prototype
9 viewing directions ; 1°×7°
Single spectrograph
400-800 nm
Volume 2 dm3
Mass 2 kg
Commercial detector
MECON
ASTRON / TNO

## Slide 16
DoLP
Retiga4000R
Polarization calibration: DoLP

## Slide 17
Polarization calibration

## Slide 18
0.001+0.005PL
Polarization calibration
Design requirement: ΔPL = 0.01+0.05PL

## Slide 19
0.001+0.005PL
Polarization calibration
Prototype demonstrates the capabilities of the SPEX modulation technology!

## Slide 20
SPEX Airborne
NASA ER-2 High Altitude Platform
21 km cruise height

## Slide 21
Instrument Power Unit
Structural Support Unit
SpectroPolarimeter Unit
Instrument Control Unit
SPEX Airborne

## Slide 22
Conclusions
Several implementations of spectral polarization modulation realized
SPEX Prototype performance beyond design requirements
High polarimetric accuracy needed for aerosol/climate science demonstrated in the lab and with ground-based clear sky observations
SPEX prototype upgraded for deployment on ER-2
First test + science flight ~2016Q1